Contract for the Supply, Delivery, Installation, Testing and Commissioning of Ten (10) Brand New Air-conditioning Units (5 Tonner Split Type, Floor Mounted Inverter Type) for the Temporary Passenger Terminal Building of Port of Cagayan de Oro

TERMS OF REFERENCE

This Terms of Reference (TOR) sets out the guidelines for the procurement for,  including the technical specifications of the above-stated goods.

A.       BACKGROUND

Under P.D 857, as amended, PPA is tasked to undertake the planning, development, financing, construction and operation of ports and port districts throughout the country, with the end view of enhancing the quality of its services. As such, the Port Management Office of Misamis Oriental/Cagayan de Oro undertakes to continually enhance and improve the comfort, convenience and experience of the port clients, ports users, maritime passengers and the general public, by providing sufficient and environment friendly cooling system in the Temporary Passenger Terminal Building (PTB) of the Port of Cagayan de Oro, Macabalan, Cagayan de Oro until such time the Modern PTB Complex Project is fully constructed, its amenities completed and operational.

B.       OBJECTIVE

The Port Management Office of Misamis Oriental/Cagayan de Oro in its effort to ensure the comfort and convenience of the passengers and the general public during construction of the Modern Passenger Terminal Building of the Port of Cagayan de Oro which is expected to commence project implementation on the third quarter of this year, desires to procure Ten (10) Brand New Air Conditioning Units (5 Tonner Split Type, Floor Mounted Inverter Type) for the Temporary Passenger Building of the Port of Cagayan de Oro, Macabalan, Cagayan de Oro.

C.      ITEM SPECIFICATIONS

| ITEM NO. | ITEM & DESCRIPTION | QTY. | UNIT |
| --- | --- | --- | --- |
| 1 | Brand New 5 Tonner Split Type, Floor Mounted Inverter Type - ISO Certified Brand | 10 | units |

D.      PROJECT SITES

This project includes the supply, delivery, installation, testing and commissioning of the above-described air-conditioning units at the Temporary Passenger Building of the Port of Cagayan de Oro, Macabalan, Cagayan de Oro.

E.   APPROVED BUDGET OF THE CONTRACT

The Approved Budget for the Contract (ABC) is ONE MILLION FIVE HUNDRED THOUSAND (Php 1,500,000.00) in Philippine Currency inclusive of 12% VAT. Bids proposed submitted higher than the ABC shall automatically be rejected.

F.    SCOPE OF WORK

- The Supply, Delivery, Installation, Testing and Commissioning of the above-described air-conditioning units shall cover the following:

  - Labor (transportation, field allowance, board/lodging and other incidental expenses of technicians);

  - Materials (copper tubing installations and insulations, welding job and other incidental materials)

  - Maintenance and Support

1. During the warranty period, the winning bidder shall provide a highly technical personnel to service all the Air-conditioning Units; including its compressors, components/peripherals whenever hardware and/or any related problem should occur.

2. Winning bidder must have at a local service center.

3. On call support should be available every working day.

4. On hardware repair, testing shall be done on-site to know the extent of the problem.

5. The winning bidder must shoulder all expenses of the technician(s) who will be providing the technical services on-site during the warranty period.

  - accessories.

- Warranty: From the date of delivery and acceptance of the products, the prospective bidder shall warrant that the products are free from defects in materials and workmanship, and shall undertake repair or replacement of any part(s) or portion of the equipment without cost to the government. Warranty period shall be at least one (1) year.

G.   TOOLS AND EQUIPMENT REQUIREMENT

The prospective bidder shall commit to provide the minimum tools and/or equipment to be utilized during project implementation.

Provided, the subject tools and/or equipment are wholly owned, or under lease agreement of which the period of the said contract must not be less than duration of the project.

The prospective bidder should exclusively dedicate the aforementioned tools/equipment and personnel/manpower within the entire duration of the contract, or until completion of the project as evidence by the Certificate of Acceptance duly signed by the authorized representative/signatory of PPA-PMO-MOC, whichever comes first.

H.   QUALIFICATION OF PROSPECTIVE BIDDERS

In accordance with Sec. 23.5.1 of the Revised IRR of RA 9184, and the ISO 9001:2008 and PSHEMS Standards currently implemented in this Port, the prospective bidder must possess the following minimum qualifications to be eligible to participate in this public bidding, to wit:

(a)          Duly licensed Filipino citizens/sole proprietorships;

(b)          Partnerships duly organized under the laws of the Philippines, sixty percent (60%) of the interest belongs to citizens of the Philippines;

(c)          Corporations duly organized under the laws of the Philippines, sixty percent (60%) of the outstanding capital stock belongs to citizens of the Philippines;

(d)          Cooperatives duly organized under the laws of the Philippines, sixty percent (60%) of the interest belongs to citizens of the Philippines; and

(e)          Citizens or organizations of a country the laws or regulations of which grant similar rights or privileges to Filipino citizens, pursuant to RA 5183 and subject to Commonwealth Act 138.

I.      TERMS AND CONDITIONS

1.   Prospective bidders must undertake the entire scope of work cited above within 45 calendar days upon receipt of the Notice to Proceed. There shall be only one (1) bid for each participating bidder. No bidder is allowed to submit more than one bid. Otherwise, the bidder shall be disqualified;

2.   It is the responsibility of the participating bidders to coordinate and conduct an on-site inspection of the identified installation site(s), and to secure a Certificate of Site Inspection duly signed by the following personnel (in the following hierarchy of priority):  the Port Manager or the Office-in-Charge, Admin Services Manager, and the Acting PTC Supervisor of PMO Misamis Oriental/Port of Cagayan de Oro;

3.   Bids submitted after the prescribed deadline which is 15 August 2016, 1:30PM shall no longer be accepted and considered automatically disqualified;

4.   The Bid Tender/Financial Bid submitted by the bidders shall be inclusive of the 12% Value Added Tax (VAT). However, the VAT and other applicable taxes should be clearly and separately indicated and/or itemized in the bidder’s financial proposal;

5.   Bidders shall submit their respective bids following the prescribed Bidding Forms, and shall comply with the requirements on sealing and marking of bids. Bidders are encouraged to avoid any erasures/modifications on the bid form, otherwise, the said portion shall be duly signed or initialed by the authorized representative of the prospective bidder.

6.  Submitted bids that are not in the prescribed form and/or unsigned shall be considered patently insufficient, and shall be automatically declared non-complying/disqualified.

7.   All prospective bidders are required to submit a bid security in the form and amount prescribed under the revised Implementing Rules and Regulations of RA 9184.

8.   Bidders maybe allowed to withdraw his tender documents before the opening of bids, and the same shall be returned to the bidders unopened. However, no bidder shall be allowed to withdraw his/her offer once and/or after the opening of bids has been conducted or concluded;

9. The bid security shall be returned to the non-winning bidders immediately after the winning bidder has been duly determined and the contract has been awarded, and upon the submission of a letter request for the return of the bid security;

10.The award shall be given to the lowest/single calculated and responsive bid as determined and evaluated by the BAC-PG, and whose bid price is not higher than the ABC;

11. Should there be two or more bidders who submitted the same bid price, BAC-PG shall break the tie in accordance with mechanics provided for under the Government Procurement Policy Board Circular No. 06-2005 dated 05 August 2005;

12. The winning bidder shall not assign or sub-contract or transfer its rights and interest under this contract to any third person, nor shall the same be honored by PPA.

13. All incidental expenses shall be borne solely by the winning bidder;

14. There is no employee/employer relationship between employees of the winning bidder and PPA. Hence, the winning bidder shall solely assume responsibility for the payment of salaries, monetary benefits and such other payment for injuries which may be suffered by its employees while implementing the contract.

15.The winning bidder shall assume full responsibility, be liable and agrees to indemnify PPA, or any party/ies for any loss, damage, destruction and/or injury which are attributable in whole or in part to the negligence, fault, laxities, unlawful act or misconduct of the former and/or through its authorized representative or personnel arising from the performance of the project. The damages or injuries shall be reported in writing to PPA and/or other parties immediately or within two (2) days from the date of its discovery to enable PPA to investigate the matter. However, the winning bidder is not precluded from pursuing any legal action against the person responsible.

16. PPA reserves the right to reject any or all bids, to waive any defect in the bids received and to accept such bid which is most advantageous to the Authority.

Recommending Approval:

BIDS AND AWARDS COMMITTEE FOR PROCREMENT OF GOODS:

LEMUEL IAN T. MORALDA                                  MARIA CHONA R. FABIA

Vice- Chairperson                                                   Member

EUTEMIO B. TUMANDA                                       RYAN P. NALZARO

Member                                                                  Member

RUBY MARIA O. GUMAPON

Chairperson

Approved by:

ISIDRO V. BUTASLAC, JR

Port Manager