| **BILL OF QUANTITIES** | | | | | | |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | |  |
| **Project Name : Repair Of Port Lighting System In Compliance With PSHEMS And ISPS** | | | | | | |
| **Location : Port of General Santos, Makar Wharf, General Santos City** | | | | | | |
|  |  |  |  | |  |  |
| **Item No.** | Description | Unit | Quantity | | Unit Cost | Amount |
| **I** | **MOBILIZATION AND DEMOBILIZATION at Pesos:** |  |  | |  |  |
|  |  | Lot | 1.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per lot. |  |  | |  |  |
|  |  |  |  | |  |  |
| **II** | **SUPPLY & INSTALLATION OF LIGHTING SYSTEM AT TS1, SULPICIO WAREHOUSE, HIGHMAST TOWERS, AND WALKWAY SHEDS, INCLUDING REMOVAL OF EXISTING FLOODLIGHTS AND FLUORESCENT LAMPS (including commission)at Peso:** |  |  | |  |  |
|  |  | SET | 244.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per set. |  |  | |  |  |
|  |  |  |  | |  |  |
| **III-a** | **SOLAR STREET LIGHTS (REMOVAL OF EXISTING LAMP POST AND DEMOLITION OF CONCRETE PEDESTAL INCLUDING STORAGE AT DESIGNATED AREA AS INSTRUCTED BY ENGINEER) at Peso:** |  |  | |  |  |
|  |  | SET | 28.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per set |  |  | |  |  |
|  |  |  |  | |  |  |
| **III-b** | **SOLAR STREET LIGHTS (EXCAVATION OF EXISTING FILL INCLUDING DEMOLITION OF EXISTING CONCRETE PAVEMENT) at Peso:** | CU.M. | 66.51 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per cu.m. |  |  | |  |  |
| **III-c** | **SOLAR STREET LIGHTS (SUPPLY OF REINFORCED CONCRETE FOUNDATION ) at Pesos:** |  |  | |  |  |
|  |  | CU.M. | 36.72 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per cu.m. |  |  | |  |  |
|  |  |  |  | |  |  |
| **III-d** | **SOLAR STREET LIGHTS (SUPPLY AND INSTALLATION OF SINGLE ARM POST, BASE PLATE, STIFFINER, ANCHOR BOLTS, NUTS, AND WASHER) at Pesos:** |  |  | |  |  |
|  |  | SET | 29.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per set |  |  | |  |  |
|  |  |  |  | |  |  |
| **III-e** | **SOLAR STREET LIGHTS (SUPPLY AND INSTALLATION OF LED STREET LIGHTS AND SOLAR PANEL) at Pesos:** |  |  | |  |  |
|  |  | SETS | 29.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per sets |  |  | |  |  |
|  |  |  |  | |  |  |
| **III-f** | **SOLAR STREET LIGHTS (PAINTING OF CONCRETE PEDESTAL AND POST ) at Pesos:** |  |  | |  |  |
|  |  | LOT | 1.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per lot |  |  | |  |  |
|  |  |  |  | |  |  |
| **IV-a** | **HIGHMAST TOWERS (SUPPLY, DELIVERY, AND INSTALLATION OF SINGLE ARM POST ATTACHED TO THE EXISTING 7 UNITS HIGH MAST TOWER) at Pesos:** |  |  | |  |  |
|  |  | SET | 28.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per set |  |  | |  |  |
|  |  |  |  | |  |  |
| **IV-b** | **HIGH MAST TOWER (SUPPLY AND INSTALLATION OF SOLAR PANEL WITH COMPLETE ACCESSORIES AND LED LIGHTS FOR LIGHTING SYSTEM ATTACHED TO THE EXISTING 7 UNITS HIGH MAST TOWER) at Pesos:** |  |  | |  |  |
|  |  | SET | 28.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per set |  |  | |  |  |
|  |  |  |  | |  |  |
| **IV-c** | **HIGH MAST TOWER (REPAINTING OF THE EXISTING 7 UNITS HIGH MAST TOWER) at Pesos:** |  |  | |  |  |
|  |  | SQ.M. | 28.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per sq.m. |  |  | |  |  |
|  |  |  |  | |  |  |
| **V-a** | **FLOODLIGHT POLE ( SUPPLY, DELIVER AND INSTALLATION OF ELECTRIC WIRES AND CABLES ) at Pesos:** |  |  | |  |  |
|  |  | LN.M. | 570.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per ln.m. |  |  | |  |  |
| **V-b** | **FLOODLIGHT POLE ( SUPPLY, DELIVER AND INSTALLATION OF CONDUIT PIPE INCLUDING FITTINGS OF VARIOUS SIZES) at Pesos:** |  |  | |  |  |
|  |  | Lot | 1.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per lot. |  |  | |  |  |
| **V-c** | **FLOODLIGHT POLE ( EXCAVATION OF EXISTING FILL FOR DUCTLINE, HANDHOLE, AND FLOODLIGHT POLE FOUNDATION) at Pesos:** | CU.M. | 93.11 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per cu.m. |  |  | |  |  |
| **V-d** | **FLOODLIGHT POLE ( CONSTRUCTION OF CONCRETE DUCTLINE AND HANDHOLE) at Pesos:** | LN.M. | 305.00 | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per ln.m. |  |  | |  |  |
| **V-e** | **FLOODLIGHT POLE (SUPPLY AND DRIVE OF 0.40m x 0.40m x 20m PSC PILE) at Pesos:** | LN.M. | 60.00 | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per ln.m. |  |  | |  |  |
| **V-f** | **FLOODLIGHT POLE (SUPPLY OF REINFORCED CONCRETE POLE FOUNDATION) at Pesos:** | CU.M. | 3.90 | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per cu.m. |  |  | |  |  |
| **V-g** | **FLOODLIGHT POLE (SUPPLY, DELIVER, AND INSTALLATION OF 12M HT. FLOODLIGHT STEEL POLE) at Pesos:** | UNIT | 3.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per unit |  |  | |  |  |
| **V-h** | **FLOODLIGHT POLE (SUPPLY, DELIVER, AND INSTALLATION OF LED FLOODLIGHT) at Pesos:** | SET | 12.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per set |  |  | |  |  |
| **V-i** | **FLOODLIGHT POLE (SUPPLY, DELIVER, AND INSTALLATION OF LIGHTNING PROTECTION AND ACCESSORIES) at Pesos:** | SET | 3.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per set |  |  | |  |  |
| **VI** | **CONSTRUCTION SAFETY AND HEALTH PROGRAM INCLUDING INSTALLATION OF PROJECT BILLBOARD at Pesos:** |  |  | |  |  |
|  |  |  |  | |  |  |
|  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ per lot | LOT | 1.00 | |  |  |
|  |  |  |  | |  |  |
|  |  |  |  | |  |  |
|  | | | | | |  |
| **Total Cost of Bid >>>>>>>>>>>>>** | | | | | | **P** |
|  |  |  |  |  | |  |
|  |  |  |  |  | |  |
|  |  |  |  |  | |  |
| **Inclusive of 12% VAT** | | | | | |  |
| **Amount in words** | | | | | |  |
|  |  |  |  |  | |  |
| Submitted By : | |  |  |  | |  |
|  |  |  |  |  | |  |
|  |  |  |  |  | |  |
|  |  |  |  |  | |  |
| **Name and Signature of Authorized Representative** | | |  |  | |  |
|  |  |  |  |  | |  |
|  |  |  |  |  | |  |