R.T. Lim Boulevard

Zamboanga City 7000

PO Box No. 360



## *PMO-ZAMBOANGA*

*Tel Nos. 991-2037 to 2039 Fax No. 991-2360*

**SUPPLEMENTAL BID BULLETIN NO.2**

Project No. ZM 01-2015

Repair of Damaged Pavement beside PTS-I and Roro Ramp including Drainage System, Port of Zamboanga, Zamboanga City

To : All Prospective Contractors

: Members, BAC for Engineering Projects

: Others Concerned

Relative to the above project which was published/advertised on August 03-10, 2015, please be informed that the Correct Scope of Work are listed hereunder, to wit:

|  |  |  |  |
| --- | --- | --- | --- |
| Item No. | DESCRIPTION | QUANTITY | UNIT |
|
| A | Mobilization/Demobilization | 1.00 | lot |
| I | Demolition works and Disposal | 1.00 | lot |
| II | Excavation Works & Disposal | 5,473.10 | cu.m |
| III | Repair of Damaged Drainage System |  |  |
| a) | Formworks | 1,450.77 | sq.m |
| b) | Supply & Installation of Rebars | 49,497.11 | kgs |
| c) | Gravel Beddings | 66.33 | cu.m |
| d) | Concrete Works | 278.76 | cu.m |
| e) | Provision of Steel Grating for Manhole | 32.00 | set |
| V | Supply, place and compact filling materials (Item 200) | 1,604.91 | cu.m |
| VI | Supply, place and compact Sub-Grade filling materials (Item 201) | 1,283.93 | cu.m |
| VII | Portland Cement Concrete Pavement (Item 311) | 1,604.91 | cu.m |
| VIII | Repair of Damaged Fence and Gate |  |  |
| a) | Excavation Works | 3.04 | cu.m |
| b) | Formworks | 29.54 | sq.m |
| c) | Masonry works | 11.70 | sq.m |
| d) | Supply & Installation of Rebars | 331.53 | kgs |
| e) | Concrete Works | 3.50 | cu.m |
| f) | Provision of Steel Grills with painting | 7.50 | lm |
| g) | Repair of damaged gate | 7.00 | lm |
| IX | Construction Health and Safety Program | 237.00 | c.d. |

For information.

Issued this 20th day of August 2015.

THE BIDS AND AWARDS COMMITTEE:

By:

ENGR. JOHNSON D. KHO

Chairman, BAC for Engineering Projects